## Sheet1
Sample | Notes
BLANK1
B2207A | (running replicates to see if Blank lowers first B2207 measurement)
B2207B
B2207C
PO4A | (running replicates to see if B2207 raises first PO4 measurement)
PO4B
PO4C
120cA1 | (replicates to check PO4 influence. Also, how precise is our method?)
120cA2
120cA3
120cB1
120cB2
120cB3
120cB4
120cC1
120cC2
120cC3
120cC4
120cC5
B2207D | (replicates to see how 120c will change B2207 measurements) | this seems to duplicate rows 3-8. Why not just run 4 PO4s in a row like you have here (or even 5) . Will running only 3 give you independent information?
B2207E
B2207F
B2207G
PO4D | (check to see if we need more than 3 replicates to remove memory effect)
PO4E
PO4F
PO4G
BLANK2
120cD1 | (check to see if 1 blank removes memory effect)
BLANK3 |  | You would need to run several PO4s immediately before the blanks in order to test memory effect. The sequence here is 120c, blank, blank then another 120c
BLANK4
120cD2 | (check to see if need more than 1 blank to remove memory effect)
BLANK5 |  | same thing here. This is not a true test for memory effect because previous sample is the same as the one run after the blanks.
BLANK6
BLANK7
120cD3 | (check to see if need more than 2 blanks to remove memory effect)
BLANK8
120cE1 |  | This all part of 1 test, right? We'll get this from the tests above that do not have a blank in between standards
120cF1 | (check to see if we can run a minimal 2 replicates with no blank)
120cF2
PO4H | (check to see if we can run a minimal 2 replicates with no blank)
PO4I
BLANK9 |  | we'll get this from the tests above
B2207H | (check to see how blank helps samples with no replicates)

## Sheet2
blank
120c
120c
120c
120c
120c | precision of method including prep
120c
120c
120c
120c
120c
120c
120c
PO4
PO4
PO4 | memory effect (without blank) in between
PO4
PO4
B2207
B2207
B2207 | memory effect (without blank in between)
B2207
B2207
blank
PO4
PO4 | influence of 1 blank on memory effect
PO4
PO4
PO4
blank
120c
120c | influence of 1 blank on memory effect
120c
120c
120c
blank
blank
PO4
PO4 | influence of 2 blanks on memory effect
PO4
PO4
PO4
blank
blank
blank
120c or B2207 | influence of 3 blanks on memory effect
120c or B2208
120c or B2209
120c or B2210

## Sheet3
blank |  | Potential Problems for Method
120c |  | 1) Need to load similar weights in capsules (though perhaps an amplitude correction should be made during calibrations anyway, since it looks like the amount of sample loaded has an influence on delta values).
120c
120c
120c
120c | precision of method including prep
PO4
PO4 |  | 2) Ag3PO4 appears to be pretty sticky in the reactor. This may lead to a memory effect when running the samples. May explain why standard deviations are so high? Definitely need to clean and change out the glassy carbon pieces. Not yet sure how often they need to be changed.
PO4 | memory effect (without blank) in between
PO4
PO4
B2207
B2207
B2207 | memory effect (without blank in between)
B2207 |  | 3) The TCEA CO on-offs may have different operating parameters than the actual TCEA CO method. When we switch from on-offs to CO method, the backgrounds drop fairly dramatically. Double check dilutions and peak center. Focus 253 before running on-offs and again before running samples.
B2207
blank
PO4
PO4 | influence of 1 blank on memory effect
PO4
PO4
PO4 |  | 4) There is something weird happening (maybe a leak--purge gas?) that causes an electro-magnetic looking pulse in the backgrounds. Doesn't seem to influence the delta values, but it just started happening when it hasn't happened on the previous three runs. Maybe this is what is causing some of the tails of peaks to be measured as 1-2 separate peaks?
blank
120c
120c | influence of 1 blank on memory effect
120c
120c
120c
blank
blank
PO4
PO4 | influence of 2 blanks on memory effect
PO4
PO4
PO4
blank
blank
120c | influence of 2 blanks on memory effect
120c
120c
120c
120c
blank
blank
blank
B2207 | influence of 3 blanks on memory effect
B2207
B2207
B2207